Main Switch Board

Manufacturer         ABC

Model Number  ABC

Voltage #

Amperage #

AIC Rating #

Number of breakers #

Phase #

NEMA Rating ABC

Main Breaker or Main Fuse

Image link

Cut sheet link

UPC ??

Panels over 400 amps

Manufacturer

Model Number

Voltage

Amperage

AIC Rating

Number of breakers

Phase

NEMA Rating

Main Lug or Main Breaker

Image

Cut sheet

Manufacturers Siemens, ABB, SquareD, Eaton

Panels under 400 amps

Manufacturer

Model Number

Voltage

Amperage

AIC Rating

Number of breakers

Phase

NEMA Rating

Sub feed breaker

Main Lug or Main Breaker

Torque Settings

Image

Cut sheet

Manufacturers Siemens, ABB, SquareD, Eaton

Breakers big

Manufacturer

Model Number

Voltage

Amperage

AIC Rating

Phase

NEMA Rating

Poles

Accessory Kit

Lug Kit** Need separate area for lug kits 	Torque Settings

Long time Pickup (IR)

Long time Delay (tr)

Short Time Pickup (lsd)

Short Time Delay (tsd)

Instananeous Pickup (li)

Ground Fault Piclup (lg)

Ground Fault Delay (tg)

Image

Cut sheet

Manufacturers Siemens, ABB, SquareD, Eaton

https://library.e.abb.com/public/4f476895dceb4734b39b417f637d1301/9AKK108467A9440_en_B_BuyLog%20Section%208_%20LV%20insulated%20case%20circuit%20breakers.pdf?x-sign=AQMyZIodnE44ywuJxl7zA2HzbwUORmTmpt1upUqzsl7JYGwxlpwwQ%2bqs%2f3e30pGD

Breakers

Manufacturer

Model Number

Voltage

Amperage

AIC Rating

Phase

NEMA Rating

Poles

Torque Settings

Image

Cut sheet

Manufacturers Siemens, ABB, SquareD, Eaton

Eaton

  PDF34GH400E2XN (Frame 3, Four Pole, 400A-High)

  PDG42K0800D3DK (Frame 4, Two Pole, 800A)

  PDG23N0200P8WN (Frame 2, Three Pole, 200A)

  PDF33F0250E2CK (Frame 3, Three Pole, 250A)

  PDF64P1600E5WM (Frame 6, Four Pole, 1600A)

  PDF33F0400E2WN (Frame 3, Three Pole, 400A)

  PDG23K0015TFFL (Frame 2, Three Pole, 15A)

  PDG32GH250D4YN (Frame 3, Two Pole, 250A High Override)

  PDG33KH250E5MK (Frame 3, Three Pole, 250A-High)

  PDG32M0250E2RJ (Frame 3, Two Pole, 250A)

  PDF24K0060B2NN (Frame 2, Four Pole, 60A)

  PDF44K0800E2ZL (Frame 4, Four Pole, 800A)

  PDG30K0300VFAN (Frame 3, Four Pole, 300A)

  PDG33M0600P8DN (Frame 3, Three Pole, 600A)

  PDF33KH400E3XK (Frame 3, Three Pole, 400A-High)

  PDF24N0225B2NN (Frame 2, Four Pole, 225A)

  PDG33N0125P5DJ (Frame 3, Three Pole, 125A)

  PDF53M1200P2MM (Frame 5, Three Pole, 1200A)

  PDG14C0045VFFN (Frame 1, Four Pole, 45A)

  PDG33G0125P2WJ (Frame 3, Three Pole, 125A)

  PDG33GH250E5ZK (Frame 3, Three Pole, 250A-High)

  PDG34K0125B2NL (Frame 3, Four Pole, 125A)

  PDG20F0200TFFN (Frame 2, Four Pole, 200A)

  PDF33F0600P4YK (Frame 3, Three Pole, 600A)

  PDG33G0250E2NK (Frame 3, Three Pole, 250A)

  PDG14K0045TFFN (Frame 1, Four Pole, 45A)

  PDF24M0225E3ZW (Frame 2, Four Pole, 225A)

  PDG34PH400P2WL (Frame 3, Four Pole, 400A-High)

  PDG23F0200TFFJ (Frame 2, Three Pole, 200A)

  PDG21G0020VFFL (Frame 2, Single Pole, 20A)

  PDG32M0125P3MJ (Frame 3, Two Pole, 125A)

  PDF24M0150E2XJ (Frame 2, Four Pole, 150A)

  PDG24P0200TFFL (Frame 2, Four Pole, 200A)

  PDG33N0250E5RL (Frame 3, Three Pole, 250A)

  PDG24P0225E2CJ (Frame 2, Four Pole, 225A)

  PDG32NH250D4MN (Frame 3, Two Pole, 250A High Override)

  PDG32G0200VFAK (Frame 3, Two Pole, 200A)

  PDD23M0150VFFJ (Frame 2, Three Pole, 150A)

  PDD22F0080VFFN (Frame 2, Two Pole, 80A)

  PDG24K0060P3DJ (Frame 2, Four Pole, 60A)

  PDF23N0225P2YW (Frame 2, Three Pole, 225A)

  PDG34M0125E3RK (Frame 3, Four Pole, 125A)

  PDG32P0600P4DL (Frame 3, Two Pole, 600A)

  PDG54P1200FNNN (Frame 5, Four Pole, 1200A)

  PDG33GH400P3MN (Frame 3, Three Pole, 400A-High)

  PDF24G0100E2XN (Frame 2, Four Pole, 100A)

  PDG33M0250E5WN (Frame 3, Three Pole, 250A)

  PDG44K0600VFAL (Frame 4, Four Pole, 600A)

  PDG33MH400P4WJ (Frame 3, Three Pole, 400A-High)

  PDG23G0100E3CL (Frame 2, Three Pole, 100A)

  PDF33KH400E2CJ (Frame 3, Three Pole, 400A-High)

  PDG24K0225P3WJ (Frame 2, Four Pole, 225A)

  PDG12K0030TFFJ (Frame 1, Two Pole, 30A)

  PDG32GH400D5ML (Frame 3, Two Pole, 400A High Override)

  PDG24P0060VFFK (Frame 2, Four Pole, 60A)

  PDG32M0600P2YJ (Frame 3, Two Pole, 600A)

  PDC54M1600E3MM (Frame 5, Four Pole, 1600A)

  PDG33M0250P4YN (Frame 3, Three Pole, 250A)

  PDG11F0020TFFJ (Frame 1, Single Pole, 20A)

  PDG23N0100P2WN (Frame 2, Three Pole, 100A)

Eaton page:

- MPS4084HEAXX2F

- MPSC203VEAXX2H

- SPN85N3LEAXX2F

- MPNC203YEAXX2A

- MPN6404HEAXXSW

- MPSC083WEAXXSW

- MPN6124LEAXX2F

- MPN4163LEAXX2H

- MPS6203MEAXX2A

- MPN4163YEAXX2H

- MPS6164MEAXX2F

- SPSC5A4WEAXX2A

- MPS5163HEAXX3A

- MPS86A4EEAXX2Q

- SPSC5N3WEAXX2F

- MPNC4N4YEAXX2H

- MPN85N3WEAXX2S

- MPSC083WEAXX2A

- MPN6403LEAXX2F

- MPN6084VEAXX2F

- MPS6124VEAXX2F

- MPSC404MEAXX2S

- MPSC503HEAXX2C

- MPN6163CEAXX2H

- MPS8404WEAXX2A

- MPS6163HEAXXSW

- MPS86A4GEAXX2F

- MPNC4N4YEAXXSW

- MPNC084YEAXXSW

- MPS6203VEAXX3D

- MPN4084HEAXX2Q

- MPS8163MEAXX2Q

- MPNC4N3LEAXX3C

- MPS8084MEAXX2C

- MPN64N3LEAXX2Q

- MPS8324MEAXX2C

- MPN5123YEAXX2A

- MPS8124WEAXX2F

- MPS8503HEAXX2H

- MPSC323WEAXX3A

- MPSC203WEAXX2C

- MPS85N4HEAXX2Q

- MPSC504HEAXX2H

- MPS8504HEAXX2S

- MPSC6N3GEAXX3B

- MPSC5N3HEAXX2Q

- MPS6084HEAXXSW

- MPS8503VEAXX2S

- SPN6204XEAXX2F

- MPN64N3HEAXX2A

- MPSC203WEAXX3C

- SPSC124WEAXX2A

- SPN6164YEAXX2F

- SPS8503MEAXX2C

- MPN4163LEAXX2A

- MPN84N4XEAXX2A

- MPS6164WEAXX2F

- SPN84N4WEAXX2F

- MPS6253MEAXX3B

- SPS84N3MEAXX2H

-   PDO43G0500VFFN

-   PDO43G0450VFFN

-   PDO34G0175VFFN

-   PDO24G0080VFFN

-   PDO24G0030VFFN

-   PDO24G0070VFFN

-   PDO24G0100VFFN

-   PDP24G0100VFFN

-   PDP34GH250VFFN

-   PDP24G0070VFFN

-   PDO34G0125VFFN

-   PDP34G0225VFFN

-   PDO43G0400VFFN

-   PDP34GH350VFFN

-   PDO43G0350VFFN

-   PDP34G0300VFFN

-   PDP34G0200VFFN

-   PDP43G0600VFFN

-   PDP43G0350VFFN

-   PDP24G0030VFFN

-   PDO43G0600VFFN

-   PDO24G0050VFFN

-   PDO24G0040VFFN

-   PDO34GH350VFFN

-   PDP24G0060VFFN

-   PDO24G0060VFFN

-   PDP43G0450VFFN

-   PDO34G0150VFFN

-   PDP34G0250VFFN

-   PDP43G0300VFFN

-   PDO34G0200VFFN

-   PDP34GH300VFFN

-   PDP43G0500VFFN

-   PDO24G0090VFFN

-   PDP34GH400VFFN

-   PDO43G0300VFFN

-   PDP24G0080VFFN

-   PDP34G0350VFFN

-   PDP43G0400VFFN

-   PDO34GH300VFFN

-   PDP24G0090VFFN

-   PDO34G0350VFFN

-   PDO34GH250VFFN

-   PDO34GH400VFFN

-   PDP34G0150VFFN

-   PDP34G0125VFFN

-   PDO34G0300VFFN

-   PDP24G0040VFFN

-   PDP34G0175VFFN

-   PDO34G0250VFFN

-   PDO34G0225VFFN

-   PDP24G0050VFFN

Transformer

Manufacturer

Model Number

Voltage

KVA

Impedance

Phase

NEMA Rating

Image

Cut sheet

  Square D / Schneider Electric

  Eaton

  ABB

  Siemens

  GE (General Electric)

  Hammond Power Solutions

  Acme Electric

  Jefferson Electric

  Cooper Power Systems (now part of Eaton)

  MGM Transformer

  Sola/Hevi-Duty

ManufacturerkVAPart NumberNotesSquare D /

Schneider Electric75EE75T3H150°C rise, 20 taps

Square D / Schneider Electric7575T3HNVVentilated

Square D / Schneider Electric112.5EE112T3HFISNLPNEMA 1, isolated

Square D / Schneider Electric150EE150T3HFISNLPNEMA 1

Square D / Schneider Electric225EE225T3H—

Eaton75V48M28T75EENEMA 1, Energy Star, aluminum windings

Eaton75V48M28T7516NEMA 3R (outdoor), from Volume 2 catalog

Eaton112.5V48M28T112516NEMA 3R (frame FR943, series pattern)

Siemens75T1F10075A5RXXMAluminum windings, catalog format

Siemens150T1F10150A5RXXM—

Siemens200T1F10200A5RXXMClosest standard size to 225

Disconnect

Manufacturer

Model Number

Voltage

Amperage

Poles

NEMA Rating

Fuse Style

Neutral (Y/N)

Image

Cut sheet

UPC 782113120317

782113120317

782113205489

782113144313

Here are the General Duty Safety Switch part numbers pulled from the page:

- DG225NRK-00EM

- DG222URB

- DG324FGK

- DG322NRBP

- DG325URK

- DG326NRK

- DG324URK-CSA

- DG325FGK

- DG223URB

- DG326FGK

- DG221NRBP

- DG323NRB

- DG224URK

- DG224FRKV

- DG324NRKP

- DG321NGB

- DG323NGBP

- DG325FRK

- DG223UGB

- DG224FGK

- DG324NRK

- DG222NGB

- DG323NRBP

- DG222UGB

- DG323NGBLORED

- DG326URK

- DG324URK

- DG222NRB

- DG322FRB-CSA

- DG323URB-CSA

- DG322UGB

- DG322NGB

- DG321NRB

- DG223NRB

- DG326NGK

- DG226FGK

- DG222URB-CSA

- DG321UGB-CSA

- DG221NGBLORED

- DG323FRB-CSA

- DG322URB

- DG223NGB

- DG325NGK

- DG325UGK

- DG321UGB

- DG323NRB-CSA

- DG225FGK

- DG324NGKP

- DG321URB-CSA

- DG224FRK

- DG326UGK

- DG324UGK

- DG323UGB

- DG321FRB-CSA

- DG224NRKV

- DG222UGB-CSA

- DG224URKN-00EM

- DG226NRK

- DG321NGBLORED

- DG221URB

Here are the Eaton Heavy Duty Safety Switch part numbers pulled from the page:

- DH421FDK

- DH226FWKW

- DH362NGK-RDLO

- DH362NCK

- DH224FWK

- DH227FDKW

- DH361FDK2WR

- DH424FGKV

- DH322NGK

- DH368NWK

- DH367NWKW

Transfer Switch

Manufacturer

Model Number

Voltage

Amperage

AIC Rating

Phase

NEMA Rating

Image

Cut sheet

UPC 782114495834

696471615180

Fuses

Manufacturer

Model Number

Voltage

Amperage

AIC Rating

Fuse Type

Time Delay yes/no

Current Limiting yes/no

Image

Cut sheet

UPC 051712204446

051712101851

051712204606

051712508483

051712522007

Wire

Size

Type of wire

Voltage rating

Image

Cut sheet

UPC 980100229108

980100234010

048243234479

Conduit

Size

Type

Image

Cut sheet

Upc	980010020024

980010001061

980060060063

Equipment

Manufacturer

Model Number

Description

Voltage

Amperage

AIC Rating

Phase

NEMA Rating

Image

Cut sheet

Receptacles

Manufacturer

Model

Plug Type

Voltage

Amperage

Receptacle/Cord End

Image

Cut Sheet

Upc 078477819814

781381186414

078477809495

078477901908

Plugs

Manufacturer

Model

Plug Type

Voltage

Amperage

Receptacle/Cord End

Image

Cut sheet

Upc 078477901717

078477808450

078477795200

Light Fixture

Manufacturer

Voltage

Amperage

Nema Rating

Image

Cut Sheet

Upc 080083838196

193048671889

844006091194

807154905201

190887529739

Generator

Manufacturer

Model

Plug Type

Voltage

Amperage

Receptacle/Cord End

Image

Cut sheet

Upc 696471074352

696471617122

696471618280

Second Set of Tables

Location

Each Item needs a unique ID

Each item needs to show where it is fed from

Many of the items need to show what it is feeding

Location

Installation Date

Last Inspection

Inspection frequency

Next Inspection

Criticality (Low Medium High)

Condition 1,2,3

Environment Clean, Dusty, Wet, Corrosive

Condition Assesment 1,2,3

Arc Flash Label Date

Last Infrared Date

Torque Check

Status Active/Locked out/ Retired

Panels

Panel Schedule

Wire

Megger Reading Per per phase